8. Aerosol and gaseous components observation at Goto in Jan 1997, Dec 1997, and Feb 1999

Takaaki SHIMOHARA, Okihiro OISHI, and Akira UTSUNOMIYA

(Fukuoka Institute of Health and Environmental Science)

1. Sampling sites

Sampling of air was conducted at the National Acid Rain Monitoring Station of Goto Island in Nagasaki Prefecture (Goto: 32.6°N, 128.65°E) and on a rooftop of Fukuoka Institute of Health and Environmental Sciences located at Dazaifu-city in Fukuoka Prefecture (Dazaifu: 33.5°N, 130.5°E) (see “1” and “2” in Fig. 1). Goto Island is an isolated island, and there are no large anthropogenic emission sources within and around Goto Island. The National Acid Rain Monitoring Station is built on a small hill about 95 m above sea level (see Fig. 2). The site is located about 20km west-southwest from Fukue-city in Goto Island. Dazaifu-city is located just south of Fukuoka city and the ambient air is relatively clean because the location is far away from industrial and populated area.

Fukuoka Institute of Health and Environmental Sciences is about 25 m in elevation from the ground. Horizontal distance between the two sampling sites is about 200 km.

2. Sampling periods

Sampling at two sites was performed during the period of 57 days from 0900 JST of 8 January to 0900 JST of 27 January 1997, from 0900 JST of 1 December to 0900 JST of 19 December, 1997, and 0900 JST of 26 January to 0900 JST of 15 February, 1999.

3. Measurement procedures for the concentrations of atmospheric pollutants

- Concentration of gaseous and particulate matter

The gaseous and particulate matter was collected on each filter with a filter-pack method (see Fig. 3; Murano, 1986; Shimohara and Murano, 1997).Each three stage- and one stage-filter holder was set in each global sampler equipment (Goto: Shibata Co. Ltd. and Dazaifu: Osaka Dylec Co. Ltd.). Tetrafluoroethylene filter (PTFE filter; pore size 0.45 um, 47 mm in diameter), cellulose-fiber filter impregnated with K2CO3 aqueous solution and quartz-fiber filter impregnated with H3PO4 aqueous solution were placed sequentially in the three-stage filter holder in an air inlet. Polyamide filter (pore size 0.45 m, 47 mm in diameter) was placed in the one-stage filter holder. At Dazaifu-city, PTFE filter, polyamide filter, cellulose-fiber filter impregnated with K2CO3 aqueous solution and quartz-fiber filter impregnated with H3PO4 aqueous solution were placed sequentially in the four-stage filter holder. Sampling at Goto Island and Dazaifu-city was conducted for 6- and 12-h period, respectively, at a flow rate of 15 l/min.Each sampling term at two sites was from 0900 JST to 1500 JST, from 1500 JST to 2100 JST, from 2100 JST to 0300 JST the next day and from 0300 JST to 0900 JST. After sampling and extraction (Murano, 1986; Shimohara and Murano, 1997), water-soluble cations and anions of the particulate matter except for NH4+ extracted from the filters, were quantified by ion chromatography (Dionex Co. Ltd., DX-AQ).

The quantification of gaseous HNO3using the three- and one-stage filter holders was made as follows. The concentrations of gaseous HNO3 are able to calculate from the difference of concentrations of NO3- contained in both the PTFE and polyamide filters, because NO3- in the atmosphere is captured on the PTFE filter, and both NO3- and gaseous HNO3 are captured on the polyamide filter. There is no need to calculate for gaseous HNO3 on the four-stage filter holder, because polyamide filter is placed after the PTFE filter. NH4+ captured on the PTFE and the quartz-fiber filters were determined by the colorimetric method. NH4+ in the extraction of the quartz-fiber filter impregnated with H3PO4 aqueous solution was calculated to be NH3. Sulfur dioxide is quantified by the extractions of the cellulose-fiber filter impregnated with K2CO3 aqueous solution.

(2) Size distribution of particulate matter

Size distribution of particulate matter was measured with daily sampling at Goto Island and Dazaifu-city using low-volume Andersen samplers (Goto: Sibata Co. Ltd., Dazaifu: Tokyo Dylec) to classify and collect aerosol. Polyethylene films of 0.02 mm in thickness and 9 cm in diameter were set on octuple stages of sampler.A PTFE filter of pore size 0.45 m and 9 cm in diameter was set on the last stage. The particulate matter below 0.43 um in size mode is collected on the last stage of sampler. Daily sampling at Goto Island and Dazaifu-city was conducted from 0900 JST to 0900 JST of the next day at a flow rate of 28.3 l/min. Water-soluble cations and anions extracted from each stage were quantified by ion chromatography. Acidity of each water extract was measured with pH meter (Horiba Co. Ltd.), and was calculated as H+ concentration.

4. Measurement procedures of chemical forms of particulate matter

For the evaluation of chemical form of particulate matter in the atmosphere, thin films were prepared as shown below (Mamane and Pena, 1978 and 1980; Pueschel, 1980, Bigg et al., 1974; Ayers, 1978; Ono et al., 1981; Shimohara and Murano, 1997, Yamato and Ono, 1989).

4.1. Preparation of thin films and sampling procedures

(1) Pre-treatment of thin films

A nitrocellulose filter, 47 mm in diameter, was put on a glass plate (50*50*4 mm). The filter was slightly dissolved and was stuck on the glass plate by exposure to acetone vapor for 30 min. The filter was then strengthened by adding a thin film of vacuum-evaporated carbon. This pre-treated film was cut into pieces of about 3*3 mm with a scalpel. A flat polyurethane sponge was dipped about a half in depth in an acetone solution in a glass vessel. Then, 200-mesh grids of 3-mm in diameter for transmission electron microscope were placed on the sponge. The pieces of film were promptly laid on each grid. The thin film on the grid was then exposed to acetone vapor for 1-h.Since only the nitrocellulose was dissolved by the acetone vapor, the carbon thin film remained on the grid (hereafter referred to as “carbon film”) (Shimohara and Murano, 1997).After drying the carbon films, metal calcium (6 mg) was vapor-deposited onto some carbon films under vacuum. The calcium thin film was covered on the carbon film (hereafter referred to as “calcium film”).

(2) Sampling procedures of particulate matter onto thin films

The calcium film and carbon film were used for the identification of chemical forms of the particles. The calcium film or carbon film was placed inside an impactor (see Figs. 4 and 5). A tube of 8 mm inside diameter and 35 cm in length run into a tube of 8 cm in diameter and 30 cm in length.Dry silica-gel was filled up to vacancy between the tubes. When calcium film was used, the tube was equipped onto the inlet of the impactor. The ambient air is dried by passing through the tube, and the relative humidity of air decreases to below 5-10% at the inlet of impactor(Yamato and Ono, 1989).Minute water droplets and particulate matter having a water-absorbability are dried. On the other hand, there is no need to use the tube for the sampling on carbon film. Sampling was performed simultaneously at two sites in fine days. Air samples were sucked and particulate matter was attached onto each film at a flow rate of 1.3 l/min for 10 minutes. After sucking ambient air, each film was stored in a glass tube of 1 ml, and shielded against outside air.

(3) After-treatment of thin films

Calcium film after sampling was observed immediately by a transmission electron microscope. Carbon film after sampling was prepared as follows. Nitron (8mg, 1,4-diphenyl-endoanilino-dihydrotriazol) and sodium tetraphenylborate (4mg, C24H20BNa) was sequentially vapor-deposited onto sampled carbon films under vacuum. Then, the carbon films were covered with nitron and sodium tetraphenylborate (see Fig. 6; hereafter referred to as “Ni-Tet film”). On the other hand, silver nitrate (AgNO3) was vapor-deposited onto the other sampled carbon films under vacuum. The carbon film was covered with silver nitrate (hereafter referred to as “AgNO3 film”) was prepared. Each film after evaporation was then exposed to n-octyl alcohol vapor for 24-h at 25°C. The films were observed to identify the chemical forms of particulate matter by transmission electron microscope.

4.2. Evaluation of chemical forms of particulate matter

(1) Distinction of particulate NH4HSO4 and H2SO4

Particulate NH4HSO4 and H2SO4 such as hygroscopic particles in the atmosphere will have moisture even after passing through the silica gel tube. By the contact of moisture containing in the particulate NH4HSO4 and H2SO4, calcium reagent is dissolved and non-perfect and perfect homocentric spots are caused on the film (see Fig. 7). The particulate H2SO4 in the atmosphere has higher water-absorbability than NH4HSO4. The perfect homocentric and non-perfect homocentric spots are formed on the film by attaching of H2SO4 and NH4HSO4, respectively. Therefore, homocentric spots caused by particulate H2SO4 and NH4HSO4 can be differentiated based on morphology by transmission electron microscope (Yamato and Ono, 1989).

(2) Distinction of NH4NO3 and the other NaNO3 and Ca(NO3)2

Figure 6 showsa reaction scheme of particles collected onto the thin films and reagents. After capturing the particles onto carbon film, the carbon film was covered with nitron and sodium tetraphenylborate vapor-deposited. Therefore, particles and reagents are slightly dissolved with each other under the atmosphere of n-octyl alcohol vapor, and form coagulated compounds. For example, nitron reagent reacts with NO3- corrected onto the carbon film. Needle-like and/or roundly coagulated insoluble compounds are caused on the film. Sodium tetraphenylborate reagent reacts with NH4+ corrected onto the carbon film, and an observable homocentric spots consisted an ultra-minute coagulation are caused on the film (Mamane and Pena, 1978; Mamane and Pueschel, 1980).In the case of collection of NH4NO3 onto the film, the needle and/or roundly coagulated insoluble compounds are appeared within the homocentric spots. The particulate NaNO3 and/or Ca(NO3)2 without NH4+ cause only the needle and/or roundly coagulated insoluble compounds on Nt-Tet film. Ammonium sulfate, NH4HSO4 and NH4Cl without NO3- caused only the homocentric spots on Nt-Tet film. Therefore, the characteristic spots caused by the collection of NH4NO3 can be differentiated from the other NO3- such as NaNO3 and/or Ca(NO3)2 etc. (Ayers, 1978; Mamane et al., 1980; Bigg et al. 1974).

(3) Distinction of NH4Cl and the other NaCl and CaCl2

After capturing the particles onto carbon film, the carbon film was covered with AgNO3 vapor-deposited. NH4Cl collected on carbon film is dissolved under n-octyl alcohol vapor for 24-h. NaCl and CaCl2 are hardly dissolved under same environment. Therefore, Cl- of only NH4Cl reacts with AgNO3 reagent and roundly coagulated insoluble compounds of AgCl are formed on the film (Ayers, 1978; Mamane and Pueschel, 1980).

Results

Tables 1, 2 and 3 show the average concentrations of gases and particulate matter at two sampling sites in the periods of January 1997, December 1997 and February 1999.Figures 8(1), 8(2), 9(1), 9(2), 10(1) and 10(2) show the variations of gaseous and particulate matter through out the periods. Figure 11 shows the variations of nss-SO42- concentrations at Goto Island and Dazaifu-city in the period of January 1997.The variation of nss-SO42- concentrations at Goto Island was well corresponded to at Dazaifu-city. Figure 12 shows the mean nano-equivalent concentrations of each component at two sampling sites in the period of January 1997. Presence of free nss-SO42- without combined NH4+ is confirmed.

Tables 4- 6 show the size distribution of each component of particulate matter at Goto sampling site and Tables 7-9 show the size distribution at Dazaifu sampling site in the periods of January 1997, December 1997 and February 1999, respectively. Figures 13-18 show the size distributions of individual ion components in particulate matter, observation at Goto Island and Dazaifu-city. Acidic components were found in fine size mode (below 2.1um) in both sites.

Figures 19-21 show the size distribution of H+ in the particulate matter at two sampling site. Figures 22-24 show the transmission electron microphotographs of three types of Nt-Tet, calcium and AgNO3 films. The microphotographs show the sampling results performed at 1500 JST on 13 January 1997 at two sampling sites. The needle-like particles (see Fig. 22) formed by the reaction between NO3- particles and nitron reagent were observed around the rounded particles at two sampling sites. In contrast, a number of mixing spots with homocentric spots involving the needle-like insoluble compounds were observed only at Dazaifu-city. Homocentric spots are the results of reaction between NH4+ and sodium tetraphenylborate reagent.It was concluded that the NO3- at Goto Island hardly contains NH4+, and NO3- at Dazaifu-city was combined with NH4+, and present as NH4NO3.

The non-perfect homocentric spots on thin calcium film were observed at Goto Island as a result of the reaction between the moisture of hygroscopic particles and calcium reagent (see Fig. 23).The spots caused on calcium film reflect the presence of highly hygroscopic particles in the atmosphere. The spots observed on the film sampled at Goto Island were not homocentric form but infinite form. On the other hand, there was no spot at all at Dazaifu-city.

The characteristic spots of AgCl component formed by the reaction between nss-Cl- and AgNO3 were observed at Dazaifu-city (see Fig. 24). Although such a spot was present in Dazaifu-city sample, it was not observed at all at Goto Island.

REFERENCES

Ayers G.P. (1978) On the use of nitron for detection of nitrate in individual aerosol particles. Atmos. Environ. 12, 1227-1230.

Bigg F.K., Ono A. and Williams J.A. (1974) Chemical tests for individual submicron aerosol particles, Atmos. Environ., 8, 1-13.

Mamane Y. and Pena R.G. (1978) A quantitative method for the detection of individual submicrometer size sulfate particles. Atmos. Environ., 12, 69-82.

Mamane Y. and Pueschel R.F. (1980) A method for the detection of individual nitrate particles, Atmos. Environ., 14, 629-639.

Murano, K. (1986) Inorganic Composition (NO3-, SO42-) of Atmospheric Aerosol, Res. Rep. Natl. Inst. Environ. Study, Japan 102, 121-132.

Shimohara T. and Murano K. (1997) Evaluation of factors which increase corrosion around a mountain summit, The Science of the Total Environment, 198, 287-298.

Yamato M. and Ono A. (1989) Chemical and physical properties of stratospheric aerosol particles in the vicinity of tropopause folding. J. Meteor. Soc. Japan, 67, 147-166.